## Sheet1
Resilience Options costs.
The table below seeks to identify the resilience options costs.
| Caital investment. | Per annum * | 10 year period | Total
Option 1 | -5000000 |  |  | -5000000
Option 2 | 0 | -500000 | -5000000 | -5000000
Option 3 | -1515018.03 | 20000 | 200000 | -1315018.03
Option 4 | 61451.08 | -10000 | -100000 | -38548.92
* Budget assumption.
Note:
Option 3's technology enables the future works costs for increasing the PSDS scope to include the MRU and SRU to reduce from 230K to 50K.
Per annum = On-going yearly cost/saving outside of CBS yeraly maintenance charges.

## Resilience options costs
IES Heating resilience options |  | 2023-11-14
Option 1 - New Electrode Back up Generators. |  |  |  | Option 2 - Retain the existing Gas steam boilers
This option is to install new standby electric generators which would supply the Energy Centre with electricity in the event of a loss of power to site. |  |  |  | Requirement to run steam boilers in hot standby
Budget cost at 5m and very large space to site equipment, this option discounted. |  |  |  | Budget cost per annum |  | -500000
|  |  |  | Centrica costs |  | 450000
|  |  |  | LCC contribution |  | -450000
Option 3 - DNO Dual supplies |  |  |  | Option 4 - Steam Boiler Plant replacement
NGED Non - contestable works | 494958.65 |  | 441647.03 | Centrica cost |  | 605942.07
Contestable works - civils & cable install
ESM - MP03761 Rev 2 | 2112663.04 |  | 3391991
EAST - Q9063 - Rev 1 | 4774550.7 |  | 4959888.7
Sum of NGED and ESM charges |  |  | 3833638.03
CBS Provision |  |  | 1868620
Difference. |  |  | -1965018.03 |  |  | 605942.07
LCC contribution |  |  | 450000 | LCC contribution |  | 450000
Savings from LCC/Maintenance/Standing charges/- pa |  |  | 20000 | Funds made available from single DNO (this option) being under budget - see table below. |  | 217393.15
667393.15
Difference |  |  | -1515018.03 |  |  | 61451.08
Supply from one S/S assisting with contributing funds to option 4
|  |  |  | NGED Non - contestable works | 494958.65 | 441647.03
Contestable works - civils & cable install
|  |  |  | ESM - budget |  | 1209579.82
|  |  |  | EAST - budget |  | 1698217.95
1651226.85
|  |  |  | CBS Provision |  | 1868620
217393.15
|  |  |  | LCC contribution |  | 450000
|  |  |  | Difference |  | 667393.15
|  |  |  | Centrica cost |  | 605942.07
|  |  |  | Difference |  | 61451.08
Note on O13: Burke, Peter: zero?
Note on G34: Burke, Peter: will increase to @512K is the 450K net of VAT?
Note on O34: Burke, Peter: will increase to @512K is the 450K net of VAT?
Note on G35: Burke, Peter: estimate
Note on O58: Burke, Peter: will increase to @512K is the 450K net of VAT?